Useful information:

Once my spa didn’t seem to have a current and to fix it, I called the product support, and they said to take a bottle of rubbing alcohol and a Q-Tip and just wipe inside the conductor head to clean it…and in minutes it was fixed. This might never happen for you..but is good information to know!

How does the Galvanic Spa work?

The ageLOC Galvanic Spa uses self-adjusting galvanic currents and interchangeable conductors that work synergistically with Nu Skin's specially formulated treatment products to facilitate the transport of key ingredients to the skin.


What is the functional difference between the Pre-Treatment and Treatment Facial Gels?

During the pre-treat cycle, the ageLOC Galvanic Spa and the Pre-Treat Gel are negatively charged. These negative charges repel each other, delivering the Pre-Treat Gel to the skin. The Pre-Treat gel binds to impurities in the skin.

During the treatment cycle, the ageLOC Galvanic Spa and the Treatment Gel are positively charged. These positive charges repel each other helping to deliver beneficial ingredients to the skin, including the exclusive ageLOC ingredient blend. The positively charged instrument attracts the remaining negatively charged impurities from the pre-treat cycle, drawing them out of the skin.


What are the ingredient differences between the Pre-Treatment and Treatment Facial Gels?

Pre-Treat Gel contains marigold, sea kelp, and vanilla extracts to soothe and condition the skin, and cocoyl glutamate to cleanse and purify the skin.

The Treatment Gel contains the proprietary ageLOC blend to target the sources of aging, arginine, an amino acid that helps the skin recover from stress, and magnesium to promote cellular energy, leaving the skin invigorated and revitalized.


Can I use half a vial of Pre-Treat or Treatment Facial Gel for one application and save the rest for another day?

The Galvanic Pre-Treat and Treatment Facial Gels were specifically packaged to provide an efficacious amount for one galvanic session and allow for optimal conductivity for the galvanic current.

We do not recommend saving any unused portions of Galvanic Gels for use at a later time. Storing open vials of gels allows the possibility for problems regarding product safety and efficacy.

Additionally, the active ingredient in the Gels may become neutralized or oxidized in an open vial rendering the Gels less effective for their intended Galvanic treatments.

When performing a half-face demonstration you can use half a vial (of Pre-Treat or Treatment Gel), however, the remaining half should be used immediately after or should be discarded. If the person demonstrating has dry skin they may need to use the entire vial for best results. Do not use the spa on dry skin without the gels.

- Can people with acne use the Pre-Treatment and Treatment facial gels?

The Pre-Treatment and Treatment Facial Gels are great for any skin type. They should not cause any additional problems for individuals with acne, but are not designed to help or treat this condition. Additionally, the Galvanic Spa Instrument should not be used over an area with many broken capillaries or over an inflamed or open wound.

Can I use another kind of gel, like Enhancer, with the Galvanic Spa Instrument?

The Galvanic Spa Instrument is designed for use with the Galvanic Spa Facial Gels. These gels are charged to work with the galvanic current and have been tested for safety with the Galvanic Spa Instrument.


Can I use the Galvanic Spa with other Nu Skin products?

Only the Nu Skin products that are specifically formulated to carry a charge can be used with the ageLOC Galvanic Spa. Those products are: Pre-Treat and Treatment Facial Gels, Tru Face Line Corrector, Galvanic Spa Body Shaping Gel, and Nutriol Hair Fitness Treatment.


Do all Nu Skin products have a charge?

Not all products developed by Nu Skin have a charge. Only those products recommended for the Galvanic Spa have specially formulated charged ingredients. These products include the Galvanic Spa Pre-Treat and Treatment Facial Gels with ageLOC, Tru Face Line Corrector, Galvanic Spa Body Shaping Gel, and Nutriol Hair Fitness Treatment.

What are the benefits of the Galvanic Spa System?

The Galvanic Spa System provides key features and benefits for a spa-like treatment in the comfort of your own home. These benefits and features are listed below:

- A Nu Skin Galvanic Spa System allows you to get spa-like treatments in the comfort of your own home-no appointment necessary.

- A Galvanic Spa treatment can enhance the delivery of certain key ingredients for up to 24 hours.

- The Galvanic Spa System works with formulated products to facilitate the transport of key ingredients for optimal performance.

- The Galvanic Spa System features a proprietary patented instrument with four interchangeable conductors:

  - Face Conductor - this grooved conductor head provides better contact with the skin, while adding the flexibility of being removable for other conductor use and treatments.

  - Spot Treatment Conductor - this conductor head utilizes a flat, smooth, oval shaped treatment node that centralizes surface contact area. This node provides better contact with the skin in any angular and hard to reach areas of the face. It also helps deliver a more concentrated treatment.

  - Body Conductor - three rounded nodes maximize the surface area contact for wider coverage and better massaging action.

  - Scalp Conductor - this comb-like conductor is easy to pull through your hair, maintaining crucial contact between the conductor and your scalp.

- Replaceable batteries - eliminate cords, adapters, and dependence on electrical outlets.

- Smart programming - accommodates a wide range of applications: face, spot, body, and scalp treatments.

- User-friendly handheld contact points - hand is in a natural, comfortable position.

- Automatically adjusts to your skin - delivers the correct amount of current for the most effective treatment.

How do I change the Conductor attachments?

To release a conductor: Hold the instrument with the chrome activation panel facing you. Place your thumb on the release button and press firmly. With your free hand, grasp the conductor on the sides and gently pull the conductor off the instrument. Do not pinch or hold the middle of the conductor as this could permanently damage the instrument release mechanism.

To attach a conductor: Hold the instrument with the display side up, and the conductor with the positioning indicator (small etch) facing you. Press firmly to snap the conductor into place. If the conductor fails to attach, make certain the conductor is positioned correctly. Do not force the conductor--this could damage both the instrument and the conductor. The instrument will not work properly unless the conductor is attached correctly. When the spa is not in use, store it with the conductor head removed, or it will drain the batteries.

What are the differences between all four Galvanic Spa treatments?

Pre-treat and Treatment Facial Gels work with the ageLOC Face Conductor and instrument to draw out dulling debris and allow pores to breathe. They also deliver other beneficial nutrients to the skin, including the exclusive ageLOC ingredient blend.

Tru Face Line Corrector works with the Spot Treatment Conductor helping to enhance the delivery of pro-collagen peptides that send age reversing signals to collagen producing cells.

Body Shaping Gel works with the Body Conductor by targeting pockets of fat and toxins; minimizing and smoothing the appearance of cellulite for a firmer, more toned body.

Nutriol Hair Fitness Treatment works with the Scalp Conductor to facilitate the transport of key ingredients into the scalp, promoting healthy and more abundant looking hair.


How soon can I expect to see a difference in my skin using the ageLOC Galvanic Spa?

Most individuals see and feel a difference immediately after using the ageLOC Galvanic Spa and Facial Gels, however, best results will start to be seen after one month of consistent use.

Based on clinical studies, participants were able to see results with the Galvanic Spa and Tru Face Line Corrector and Body Shaping Gel within two and four weeks respectively.

Many people notice healthier, shinier hair within one week of using Nutriol Hair Fitness Treatment and the Galvanic Spa. Results with each of the Galvanic Spa products become more visible as you continue to use the products as directed.


While using the Galvanic Spa, can I also use other Nu Skin products?

Yes, the Galvanic Spa System is designed for use in addition to your usual skin care regimen. Simply use any Nu Skin cleanser and toner before the Galvanic Spa treatment and then proceed with your usual Nu Skin, skin care regimen.


How often should I do Galvanic Spa facial treatments?

The Galvanic Spa Pre-Treat and Treatment Facial Gels are recommended to be used two to three times per week. It is important to use the entire contents of each vial for each Galvanic Spa Treatment Session.


When using the Galvanic Spa what is the best technique?

Please refer to the ageLOC Galvanic Spa Instructional DVD. This DVD was created to provide you with detailed instructions on techniques and usage of the Spa.

Generally speaking, you will want to use slow upward, outward movements along the muscle contour of your face and let the Galvanic current do the work. You will want to apply very light pressure, never enough to tug or pull at the skin.


I don't feel anything when I use the Galvanic Spa. Am I doing something wrong?

During the Galvanic Treatment, most people will not feel anything. The specially formulated Gels help conduct the Galvanic current and ensure that it is delivered to the skin without discomfort.

The Galvanic instrument will beep every 10 seconds to indicate the unit is on and working. The backlight will remain lit while the instrument is on, both during treatment selection and during treatment. If you lose contact with your skin during treatment, the backlight will blink on and off until you resume contact.


What's the difference between the one, two or three beeps as the Instrument automatically adjusts to your skin?

When the Galvanic Instrument is touched to your skin it sends a controlled level of current out, and times how long it takes for the current to return to the instrument.

People with highly conductive skin (usually high skin moisture and electrolyte content) will get a level three setting (3 beeps). Their skin can tolerate higher levels of Galvanic current.

People with less conductive skin will get a level two, or level one setting depending on how conductive their skin is. The Galvanic Spa measures skin conductivity, which is affected by moisture content and electrolyte balance.

Is it safe to use the Galvanic Spa if I have received Botox injections, collagen injections, silicon injections, or other similar treatments?

Nu Skin has not studied the effects of the Galvanic Spa with Botox injections, collagen injections, silicon injections, etc.. These are all medical procedures and therefore fall outside of the cosmetic realm in which we conduct our business. Individuals with concerns should contact their Health Care Provider to duscuss their concerns of combining their treatment with galvanic currents.


Does a Galvanic treatment help heal or reduce bruising?

No. A bruise manifests itself when capillaries are damaged and allow blood to seep into the surrounding tissue. It is not recommended to use the Galvanic Spa over broken capillaries. For this reason we would not recommend using the Galvanic Spa on a bruise.


Does the ageLOC Galvanic Spa have a warranty?

Nu Skin guarantees the ageLOC Galvanic Spa to be free from defects in materials and workmanship for a period of two years from the original date of consumer purchase. This warranty does not cover damage to the product as a result of misuse or accident. If the product becomes defective within the two-year warranty period, please call your local Nu Skin office to arrange for a replacement.

What is the strength of the currents in the ageLOC Galvanic Spa?

The ageLOC Galvanic Spa provides extremely low levels of direct current. Low level currents in conjunction with the specially formulated ageLOC Galvanic Facial gels are shown to provide great visual results while not requiring estheticians or large machinery. The maximum direct current provided by the Galvanic Spa II instrument is two and a half times lower than a current needed to produce only a slight sensation.

What metal is used in the Nu Skin Galvanic Spa?

The conductors are made of chrome and copper. The materials for the conductor are ABS with electroplated chrome. (ABS stands for Acrylonitrile Butadiene Styrene).

Why is there a warning saying, "Check with your physician before using the Galvanic Spa System II if you are pregnant, have a pacemaker, are epileptic, wear metal braces on your teeth, or have a metal implant"?

While the Galvanic Spa System is very safe and gentle, clinical studies have not been performed to prove safety of use for the individuals with the conditions mentioned. Nu Skin also provides this warning to be in compliance with regulations for electronic devices.

How is the ageLOC Galvanic Spa different from competitors?

The ageLOC Galvanic Spa has several differentiating features, including:

- Patented self-adjusting currents

- Patented interchangeable heads

- Patented ageLOC head design

- An affordable alternative to spa treatments

- Enhanced delivery of key ingredients

- Smart Programming

Last question I once called about….someone wanted to know if they could use the nuskin body gel on the face, with the face spa. (would be more economical). They said, they would not recommend it. First of all the charge of the gel is set specially for the body and the settings of the face spa differ. Plus the ingredients of the body gel are to minimize fat, but you want to keep all of the fat in your face, as this is what keeps you looking young! So this is the answer to this question!!!